## Sim Info
%% SOFTWARE FOR PROBABILISTIC OPTIMAL CONTROL OF RESOURCES IN A RENEWABLE ENERGY COMMUNITIY
% ***********************************************************************************************************************************************
% RELEASE 01/12/2025
% FABIO MOTTOLA AND DANIELA PROTO UNIVERSITY OF NAPLES FEDERICO II, NAPLES (ITALY)
% fabio.mottola@unina.it, daniela.proto@unina.it
%
% THE SOFTWARE IS PART OF Project funded under the National Recovery and Resilience Plan (NRRP),
% Mission 4 Component 2 Investment 1.3 - Call for tender No. 1561 of 11.10.2022 of Ministero dell Università e della Ricerca (MUR).
% European Union – NextGenerationEU. Award Number: Project code PE0000021, Concession Decree No. 1561 of 11.10.2022
% adopted by Ministero dell Università e della Ricerca (MUR), CUP E63C22002160007 - Project title “Network 4 Energy Sustainable Transition – NEST.
% ************************************************************************************************************************************************

## BESS_power
Set point [kW]
2.8287

## DR_Load_Type I
Load type I [kW]
0 | 0
0 | 0
50 | 0
50 | 0
50 | 50
0 | 50
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0

## DR_Load_Type II
Load type II [kW]
0 | 0
0 | 50
50 | 50
50 | 50
0 | 0
50 | 50
50 | 50
0 | 50
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0

## DR_Load_Type III
Load type III [kW]
0 | 0 | 0 | 0
0 | 0 | 0 | 0
49.272 | 3.025 | 29.746 | 1.374
29.946 | 1.403 | 19.879 | 0.996
20.792 | 3.511 | 10.39 | 2.03
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0

## BESS_SoC
Power |  | SoC
Mean [kW] | Standard deviation [kW] | Mean [pu] | Standard deviation [pu]
2.8287 | 3.1708 | 0.25 | 0
2.8511 | 3.0601 | 0.24636 | 0.0040854
6.5505 | 3.9877 | 0.24268 | 0.0062798
6.6226 | 3.9612 | 0.23424 | 0.0071271
7.7566 | 5.6272 | 0.22571 | 0.010567
5.3274 | 5.3153 | 0.21571 | 0.011027
3.1313 | 8.8091 | 0.20885 | 0.0085399
-10.1508 | 26.7711 | 0.20479 | 0.011597
-44.7349 | 38.2564 | 0.21754 | 0.032689
-54.2737 | 38.3567 | 0.27394 | 0.048346
-68.6237 | 22.1247 | 0.34239 | 0.061898
-63.3212 | 30.9505 | 0.42903 | 0.069615
-59.9642 | 54.3214 | 0.50894 | 0.083484
-54.5165 | 56.035 | 0.58447 | 0.081213
-40.136 | 71.7508 | 0.6531 | 0.076031
-33.7814 | 68.5685 | 0.70339 | 0.072859
-19.1491 | 58.2796 | 0.74568 | 0.061721
4.3882 | 37.7212 | 0.76951 | 0.044653
30.4737 | 26.1205 | 0.76355 | 0.034157
83.7043 | 21.151 | 0.72423 | 0.041173
92.9825 | 20.4606 | 0.61638 | 0.046404
88.7221 | 23.1919 | 0.49658 | 0.051309
73.5101 | 30.6501 | 0.38226 | 0.052913
67.9402 | 32.8773 | 0.28755 | 0.042344
|  | 0.20001 | 0.00034644

## Shared_Energy
Hourly shared energy
Mean [kWh] | Standard deviation [kWh]
0.011315 | 0.012683
0.011404 | 0.01224
0.026202 | 0.015951
0.027007 | 0.015825
0.093668 | 0.052525
0.38675 | 0.14605
0.82654 | 0.19711
1.2629 | 0.2223
1.3649 | 0.27721
1.4608 | 0.34373
1.0773 | 0.25905
1.3545 | 0.40851
1.4094 | 0.54077
1.3426 | 0.56646
1.2133 | 0.614
1.091 | 0.51767
0.9171 | 0.3374
0.67528 | 0.19559
0.37539 | 0.10097
0.36495 | 0.080973
0.37197 | 0.081844
0.35489 | 0.092768
0.29404 | 0.1226
0.27176 | 0.13151