## Meteo
| radiazione solare diretta [W/m2] | temperatura ambiente [oC] | Velocità vento (m/s)
Time | DNI(i) | Ta(i) | v(i) |  | Load [kWe]
0:00 | 0 | 10.7 | 6 | 0 | 0
0:15 | 0 | 10.7 | 6.125 | 0 | 0
0:30 | 0 | 10.7 | 6.25 | 0 | 0
0:45 | 0 | 10.7 | 6.375 | 0 | 0
1:00 | 0 | 10.7 | 6.5 | 0 | 0
1:15 | 0 | 10.7 | 6.5 | 0 | 0
1:30 | 0 | 10.7 | 6.5 | 0 | 0
1:45 | 0 | 10.7 | 6.5 | 0 | 0
2:00 | 0 | 10.7 | 6.5 | 0 | 0
2:15 | 0 | 10.7 | 6.625 | 0 | 0
2:30 | 0 | 10.7 | 6.75 | 0 | 0
2:45 | 0 | 10.7 | 6.875 | 0 | 0
3:00 | 0 | 10.7 | 7 | 0 | 0
3:15 | 0 | 10.7 | 7.125 | 0 | 0
3:30 | 0 | 10.7 | 7.25 | 0 | 0
3:45 | 0 | 10.7 | 7.375 | 0 | 2
4:00 | 0 | 10.7 | 7.5 | 0 | 2
4:15 | 0 | 10.7 | 7.5 | 0 | 2
4:30 | 0 | 10.7 | 7.5 | 0 | 2
4:45 | 0 | 10.7 | 7.5 | 0 | 2
5:00 | 0 | 10.7 | 7.5 | 0 | 2
5:15 | 0 | 10.7 | 7.625 | 0 | 2
5:30 | 0 | 10.7 | 7.75 | 0 | 2
5:45 | 0 | 10.7 | 7.875 | 0 | 2
6:00 | 0 | 10.7 | 8 | 0 | 2
6:15 | 0 | 10.7 | 7.875 | 0 | 2
6:30 | 0 | 10.7 | 7.75 | 0 | 2
6:45 | 331 | 10.7 | 7.625 | 0 | 2
7:00 | 331 | 10.7 | 7.5 | 0 | 2
7:15 | 331 | 10.7 | 7.25 | 0 | 2
7:30 | 331 | 10.7 | 7 | 0 | 2
7:45 | 331 | 10.7 | 6.75 | 0 | 2
8:00 | 331 | 10.7 | 6.5 | 0 | 2
8:15 | 331 | 10.7 | 6.25 | 331 | 2
8:30 | 331 | 10.7 | 6 | 331 | 2
8:45 | 331 | 10.7 | 5.75 | 331 | 2
9:00 | 331 | 10.7 | 5.5 | 331 | 2
9:15 | 331 | 10.7 | 5.625 | 331 | 2
9:30 | 331 | 10.7 | 5.75 | 331 | 2
9:45 | 331 | 10.7 | 5.875 | 331 | 2
10:00 | 331 | 10.7 | 6 | 331 | 2
10:15 | 331 | 10.7 | 5.75 | 331 | 2
10:30 | 331 | 10.7 | 5.5 | 331 | 2
10:45 | 331 | 10.7 | 5.25 | 331 | 2
11:00 | 331 | 10.7 | 5 | 331 | 2
11:15 | 331 | 10.7 | 4.75 | 331 | 2
11:30 | 331 | 10.7 | 4.5 | 331 | 2
11:45 | 331 | 10.7 | 4.25 | 331 | 2
12:00 | 331 | 10.7 | 4 | 331 | 2
12:15 | 331 | 10.7 | 4 | 331 | 2
12:30 | 331 | 10.7 | 4 | 331 | 2
12:45 | 331 | 10.7 | 4 | 331 | 2
13:00 | 331 | 10.7 | 4 | 331 | 2
13:15 | 331 | 10.7 | 3.875 | 331 | 2
13:30 | 331 | 10.7 | 3.75 | 331 | 2
13:45 | 331 | 10.7 | 3.625 | 331 | 2
14:00 | 331 | 10.7 | 3.5 | 331 | 2
14:15 | 331 | 10.7 | 3.5 | 331 | 2
14:30 | 331 | 10.7 | 3.5 | 331 | 2
14:45 | 331 | 10.7 | 3.5 | 331 | 2
15:00 | 331 | 10.7 | 3.5 | 331 | 2
15:15 | 331 | 10.7 | 3.625 | 331 | 2
15:30 | 331 | 10.7 | 3.75 | 331 | 2
15:45 | 331 | 10.7 | 3.875 | 331 | 2
16:00 | 331 | 10.7 | 4 | 331 | 2
16:15 | 331 | 10.7 | 4 | 331 | 2
16:30 | 331 | 10.7 | 4 | 0 | 2
16:45 | 331 | 10.7 | 4 | 0 | 3
17:00 | 331 | 10.7 | 4 | 0 | 3
17:15 | 0 | 10.7 | 3.875 | 0 | 3
17:30 | 0 | 10.7 | 3.75 | 0 | 3
17:45 | 0 | 10.7 | 3.625 | 0 | 3
18:00 | 0 | 10.7 | 3.5 | 0 | 3
18:15 | 0 | 10.7 | 3.375 | 0 | 3
18:30 | 0 | 10.7 | 3.25 | 0 | 3
18:45 | 0 | 10.7 | 3.125 | 0 | 3
19:00 | 0 | 10.7 | 3 | 0 | 3
19:15 | 0 | 10.7 | 2.75 | 0 | 3
19:30 | 0 | 10.7 | 2.5 | 0 | 5
19:45 | 0 | 10.7 | 2.25 | 0 | 5
20:00 | 0 | 10.7 | 2 | 0 | 5
20:15 | 0 | 10.7 | 1.875 | 0 | 5
20:30 | 0 | 10.7 | 1.75 | 0 | 5
20:45 | 0 | 10.7 | 1.625 | 0 | 5
21:00 | 0 | 10.7 | 1.5 | 0 | 5
21:15 | 0 | 10.7 | 1.25 | 0 | 5
21:30 | 0 | 10.7 | 1 | 0 | 5
21:45 | 0 | 10.7 | 0.75 | 0 | 5
22:00 | 0 | 10.7 | 0.5 | 0 | 5
22:15 | 0 | 10.7 | 0.5 | 0 | 5
22:30 | 0 | 10.7 | 0.5 | 0 | 5
22:45 | 0 | 10.7 | 0.5 | 0 | 5
23:00 | 0 | 10.7 | 0.5 | 0 | 5
23:15 | 0 | 10.7 | 0.5 | 0 | 5
23:30 | 0 | 10.7 | 0.5 | 0 | 5
23:45 | 0 | 10.7 | 0.5 | 0 | 5

## accumulatore_BMS
Accumulatore_BMS
Name:
Name | Value | Description | Time | SOC
PN | 10 | nominal electrical power [kWe] | 0:00 | 50
EB | 8 | battery capacity [kWh] | 0:15 | 50
eta_C | 0.92 | efficiency during charging [-] | 0:30 | 50
eta_S | 0.92 | efficiency during discharging [-] | 0:45 | 50
SOC_min | 10 | minimum SOC value allowed [%] | 1:00 | 50
SOC_max | 90 | maximum SOC value allowed [%] | 1:15 | 50
SOC_0 | 50 | initial SOC value [%] | 1:30 | 50
AS | 0.01 | daily self-discharging value as fraction of SOC [-] | 1:45 | 50
SOC_min_slow | 20 | SOC value under which the discharging efficiency diminishes [%] | 2:00 | 50
SOC_max_slow | 80 | SOC value under which the charging efficiency diminishes [%] | 2:15 | 50
beta_min0 | 0 | minimum beta value for power exchange for solver [-] | 2:30 | 50
beta_min | 0.1 | real minimum beta value for power exchange [-] | 2:45 | 50
|  |  | 3:00 | 50
|  |  | 3:15 | 50
|  |  | 3:30 | 50
|  |  | 3:45 | 50
|  |  | 4:00 | 50
|  |  | 4:15 | 50
|  |  | 4:30 | 50
|  |  | 4:45 | 50
|  |  | 5:00 | 50
|  |  | 5:15 | 51
|  |  | 5:30 | 52
|  |  | 5:45 | 53
|  |  | 6:00 | 54
|  |  | 6:15 | 55
|  |  | 6:30 | 56
|  |  | 6:45 | 57
|  |  | 7:00 | 58
|  |  | 7:15 | 59
|  |  | 7:30 | 60
|  |  | 7:45 | 61
|  |  | 8:00 | 62
|  |  | 8:15 | 63
|  |  | 8:30 | 64
|  |  | 8:45 | 65
|  |  | 9:00 | 66
|  |  | 9:15 | 67
|  |  | 9:30 | 68
|  |  | 9:45 | 69
|  |  | 10:00 | 70
|  |  | 10:15 | 71
|  |  | 10:30 | 72
|  |  | 10:45 | 73
|  |  | 11:00 | 74
|  |  | 11:15 | 75
|  |  | 11:30 | 76
|  |  | 11:45 | 77
|  |  | 12:00 | 78
|  |  | 12:15 | 79
|  |  | 12:30 | 80
|  |  | 12:45 | 81
|  |  | 13:00 | 82
|  |  | 13:15 | 83
|  |  | 13:30 | 84
|  |  | 13:45 | 85
|  |  | 14:00 | 86
|  |  | 14:15 | 87
|  |  | 14:30 | 88
|  |  | 14:45 | 89
|  |  | 15:00 | 90
|  |  | 15:15 | 89
|  |  | 15:30 | 88
|  |  | 15:45 | 87
|  |  | 16:00 | 86
|  |  | 16:15 | 85
|  |  | 16:30 | 84
|  |  | 16:45 | 83
|  |  | 17:00 | 82
|  |  | 17:15 | 81
|  |  | 17:30 | 80
|  |  | 17:45 | 79
|  |  | 18:00 | 78
|  |  | 18:15 | 77
|  |  | 18:30 | 76
|  |  | 18:45 | 75
|  |  | 19:00 | 74
|  |  | 19:15 | 73
|  |  | 19:30 | 72
|  |  | 19:45 | 71
|  |  | 20:00 | 70
|  |  | 20:15 | 69
|  |  | 20:30 | 68
|  |  | 20:45 | 67
|  |  | 21:00 | 66
|  |  | 21:15 | 65
|  |  | 21:30 | 64
|  |  | 21:45 | 63
|  |  | 22:00 | 62
|  |  | 22:15 | 61
|  |  | 22:30 | 60
|  |  | 22:45 | 59
|  |  | 23:00 | 58
|  |  | 23:15 | 57
|  |  | 23:30 | 56
|  |  | 23:45 | 55

## accumulatore
Accumulatore
Name:
Name | Value | Description | Time | SOC
PN | 6 | nominal electrical power [kWe] | 0:00 | 50
EB | 40 | battery capacity [kWh] | 0:15 | 51
eta_C | 1 | efficiency during charging [-] | 0:30 | 52
eta_S | 1 | efficiency during discharging [-] | 0:45 | 53
SOC_min | 12 | minimum SOC value allowed [%] | 1:00 | 54
SOC_max | 90 | maximum SOC value allowed [%] | 1:15 | 55
SOC_0 | 12.0001 | initial SOC value [%] | 1:30 | 56
AS | 0 | daily self-discharging value as fraction of SOC [-] | 1:45 | 57
beta_min0 | 0 | minimum beta value for power exchange for solver [-] | 2:00 | 58
beta_min | 0.1 | real minimum beta value for power exchange [-] | 2:15 | 59
|  |  | 2:30 | 60
|  |  | 2:45 | 61
|  |  | 3:00 | 62
|  |  | 3:15 | 63
|  |  | 3:30 | 64
|  |  | 3:45 | 65
|  |  | 4:00 | 66
|  |  | 4:15 | 67
|  |  | 4:30 | 67
|  |  | 4:45 | 67
|  |  | 5:00 | 67
|  |  | 5:15 | 67
|  |  | 5:30 | 67
|  |  | 5:45 | 67
|  |  | 6:00 | 67
|  |  | 6:15 | 67
|  |  | 6:30 | 68
|  |  | 6:45 | 69
|  |  | 7:00 | 70
|  |  | 7:15 | 71
|  |  | 7:30 | 72
|  |  | 7:45 | 73
|  |  | 8:00 | 74
|  |  | 8:15 | 75
|  |  | 8:30 | 74
|  |  | 8:45 | 73
|  |  | 9:00 | 72
|  |  | 9:15 | 71
|  |  | 9:30 | 70
|  |  | 9:45 | 69
|  |  | 10:00 | 68
|  |  | 10:15 | 67
|  |  | 10:30 | 66
|  |  | 10:45 | 65
|  |  | 11:00 | 64
|  |  | 11:15 | 63
|  |  | 11:30 | 62
|  |  | 11:45 | 61
|  |  | 12:00 | 60
|  |  | 12:15 | 59
|  |  | 12:30 | 58
|  |  | 12:45 | 57
|  |  | 13:00 | 56
|  |  | 13:15 | 55
|  |  | 13:30 | 54
|  |  | 13:45 | 53
|  |  | 14:00 | 52
|  |  | 14:15 | 51
|  |  | 14:30 | 50
|  |  | 14:45 | 49
|  |  | 15:00 | 48
|  |  | 15:15 | 47
|  |  | 15:30 | 46
|  |  | 15:45 | 45
|  |  | 16:00 | 44
|  |  | 16:15 | 43
|  |  | 16:30 | 42
|  |  | 16:45 | 41
|  |  | 17:00 | 40
|  |  | 17:15 | 39
|  |  | 17:30 | 38
|  |  | 17:45 | 37
|  |  | 18:00 | 36
|  |  | 18:15 | 35
|  |  | 18:30 | 34
|  |  | 18:45 | 33
|  |  | 19:00 | 32
|  |  | 19:15 | 31
|  |  | 19:30 | 30
|  |  | 19:45 | 29
|  |  | 20:00 | 28
|  |  | 20:15 | 27
|  |  | 20:30 | 26
|  |  | 20:45 | 25
|  |  | 21:00 | 24
|  |  | 21:15 | 23
|  |  | 21:30 | 22
|  |  | 21:45 | 21
|  |  | 22:00 | 20
|  |  | 22:15 | 19
|  |  | 22:30 | 18
|  |  | 22:45 | 17
|  |  | 23:00 | 16
|  |  | 23:15 | 15
|  |  | 23:30 | 14
|  |  | 23:45 | 13

## carico_L1
Carico L1
Name:
Time | Load [kWe]
0:00 | 0
0:15 | 0
0:30 | 0
0:45 | 0
1:00 | 0
1:15 | 0
1:30 | 0
1:45 | 0
2:00 | 0
2:15 | 0
2:30 | 0
2:45 | 0
3:00 | 0
3:15 | 0
3:30 | 0
3:45 | 0
4:00 | 0
4:15 | 0
4:30 | 0
4:45 | 0
5:00 | 0
5:15 | 2
5:30 | 2
5:45 | 2
6:00 | 2
6:15 | 2
6:30 | 2
6:45 | 2
7:00 | 2
7:15 | 2
7:30 | 2
7:45 | 2
8:00 | 2
8:15 | 2
8:30 | 2
8:45 | 2
9:00 | 2
9:15 | 2
9:30 | 2
9:45 | 2
10:00 | 2
10:15 | 2
10:30 | 2
10:45 | 2
11:00 | 2
11:15 | 2
11:30 | 2
11:45 | 2
12:00 | 2
12:15 | 2
12:30 | 2
12:45 | 2
13:00 | 2
13:15 | 2
13:30 | 2
13:45 | 2
14:00 | 2
14:15 | 2
14:30 | 2
14:45 | 2
15:00 | 2
15:15 | 2
15:30 | 2
15:45 | 2
16:00 | 2
16:15 | 2
16:30 | 2
16:45 | 3
17:00 | 3
17:15 | 3
17:30 | 3
17:45 | 3
18:00 | 3
18:15 | 3
18:30 | 3
18:45 | 3
19:00 | 3
19:15 | 3
19:30 | 5
19:45 | 5
20:00 | 5
20:15 | 5
20:30 | 5
20:45 | 5
21:00 | 5
21:15 | 5
21:30 | 5
21:45 | 5
22:00 | 5
22:15 | 5
22:30 | 5
22:45 | 5
23:00 | 5
23:15 | 5
23:30 | 5
23:45 | 5

## Solver (2)
Sequential Linear Programming
SLP Parameter
Name | Value | Description
SLP method | 1 | Choice of the step acceptance method between trust region (1) and "variable" trust region (2)
N° iter | 50 | Maximum number of iteration
ε | 1e-06 | Parameter that defines the convergence step acceptance
εfeas | 0.01 | Parameter that defines the maximum constraint violation allowed
Δ0 | 0.1 | Initial value for the trust region radius
μ | 1000 | Penalization factor for the inequality constraints in the objective function
nrp | 0 | Number of random initial set points (use 0 if no random initial setpoints should be used)
feas.phase | 1 | Set to 1 or 2 in order to perform a feasibility search, 0 if you do not want any feasibility recovery phase

## conf_HOT1
Configurazione Termica HOT 1
Name:
Name | Value | Description | [11 empty] | Initial guess
comb_CD | gas | CD: type of fuel (gas naturale, biomassa, diesel) [-] | [7 empty] | Time | Qc [kWt] | T2 [°C] | T3 [°C] | CHP setpoint | CD setpoint
PCI_CD | 46.6 | CD: fuel lower heating value [MJ/kg] | [7 empty] | 0:00 | 4.1117 | 82 | 81.8035 | 0.3 | 0.3
cF_CD | 0.5493 | CD: fuel cost [euro/kg] | [7 empty] | 0:15 | 4.0583 | 82 | 81.8061 | 0.3 | 0.3
PN_CD | 34 | CD: nominal thermal power [kWt] | [7 empty] | 0:30 | 4.9084 | 82 | 81.7655 | 0.3 | 0.3
Pmin_CD | 10 | CD: technical minimum power [kWe] | [7 empty] | 0:45 | 6.9992 | 82 | 81.6656 | 0.3 | 0.3
Tmin_CD | 65 | CD: minimum water inlet temperature [°C] | [7 empty] | 1:00 | 4.8886 | 82 | 81.7664 | 0.3 | 0.3
Tmax_CD | 90 | CD: maximum water inlet temperature [°C] | [7 empty] | 1:15 | 4.3 | 82 | 81.7946 | 0.3 | 0.3
comb_CHP | gas | CHP: type of fuel (gas naturale, biomassa, diesel) [-] | [7 empty] | 1:30 | 7.2546 | 82 | 81.6534 | 0.3 | 0.3
PCI_CHP | 46.6 | CHP: fuel lower heating value [MJ/kg ] | [7 empty] | 1:45 | 6.1635 | 82 | 81.7055 | 0.3 | 0.3
cF_CHP | 0.5493 | CHP: fuel cost [euro/kg] | [7 empty] | 2:00 | 7.2809 | 82 | 81.6521 | 0.3 | 0.3
PN_CHP | 24 | CHP: nominal electrical power [kWe] | [7 empty] | 2:15 | 4.3154 | 82 | 81.7938 | 0.3 | 0.3
PNT_CHP | 73 | CHP: nominal thermal power [kWt] | [7 empty] | 2:30 | 4.6807 | 82 | 81.7764 | 0.3 | 0.3
ηEN | 33.5 | CHP: nominal electrical efficiency [-] | [7 empty] | 2:45 | 4.6542 | 82 | 81.7776 | 0.3 | 0.3
ηTN | 85 | CHP: nominal system efficiency [-] | [7 empty] | 3:00 | 4.6459 | 82 | 81.778 | 0.3 | 0.3
mr_CHP | 5.2 | CHP: design H2O mass flow to the system [kg/s] | [7 empty] | 3:15 | 4.6758 | 82 | 81.7766 | 0.3 | 0.3
m_max | 6 | CHP: maximum H2O mass flow to the system [kg/s] | [7 empty] | 3:30 | 7.3929 | 82 | 81.6468 | 0.3 | 0.3
m_min | 4 | CHP: minimum H2O mass flow to the system [kg/s] | [7 empty] | 3:45 | 15.333 | 82 | 81.2674 | 0.3 | 0.3
Tof | 433 | CHP: flue inlet temperature [°C] | [7 empty] | 4:00 | 13.23 | 82 | 81.3679 | 0.3 | 0.3
Pmin_CHP | 2.4 | CHP: technical minimum power [kWe] | [7 empty] | 4:15 | 19.1921 | 82 | 81.083 | 0.3 | 0.3
N_acc_max | 24 | CHP: Startup maximum number [-] | [7 empty] | 4:30 | 8.9961 | 82 | 81.5702 | 0.3 | 0.3
c_acc | 0 | CHP: Startup cost [€/startup] | [7 empty] | 4:45 | 8.9696 | 82 | 81.5714 | 0.3 | 0.3
Tmin_CHP | 60 | CHP: minimum water inlet temperature in cogenerative exchanger SC_COG [°C] | [7 empty] | 5:00 | 8.9613 | 85 | 84.5718 | 0.3 | 0.3
Tmax_CHP | 90 | CHP: maximum water inlet temperature in cogenerative exchanger SC_COG [°C] | [7 empty] | 5:15 | 6.4463 | 85 | 84.692 | 0.3 | 0.3
O2 | 14 | CHP: oxygen flue fraction [%] | [7 empty] | 5:30 | 12.3 | 85 | 84.4123 | 0.3 | 0.3
Epsilon | 1 | Tolerance on thermal load inlet temperature [°C] | [7 empty] | 5:45 | 7.4911 | 85 | 84.6421 | 0.3 | 0.3
[10 empty] | 6:00 | 17.3199 | 85 | 84.1725 | 0.3 | 0.3
Fuel |  |  |  | ro_gas: | 0.71 | [kg/Nm^3] |  |  |  | 6:15 | 14.555 | 85 | 84.3046 | 0.3 | 0.3
comb: | gas | biomassa | diesel | ro_diesel: | 0.85 | [kg/litro] |  |  |  | 6:30 | 21.1466 | 85 | 83.9897 | 0.3 | 0.3
PCI: | 46.6 | 10.7 | 42.9 | [6 empty] | 6:45 | 16.8574 | 85 | 84.1946 | 0.3 | 0.3
costo: | 0.39 | 50 | 0.9 | [6 empty] | 7:00 | 16.5334 | 85 | 84.2101 | 0.3 | 0.3
cF: | 0.5493 | 0.05 | 1.0588 | [6 empty] | 7:15 | 18.37 | 85 | 84.1223 | 0.3 | 0.3
|  |  |  | tab.3 | Ts [°C] | FCT | tab.4 | Q_CD [kWt] | ηCD | 7:30 | 17.8797 | 85 | 84.1457 | 0.3 | 0.3
tab.2 | G_CHP [kWe] | ηEN*FCe | ηTN*FCt | Correction factor for the cogenerative exchanger as a function of CHP inlet water temperature | 60 | 1 | Fired Heater efficiency (P [kWt] , eta) | 10 | 87 | 7:45 | 15.659 | 85 | 84.2518 | 0.3 | 0.3
Correction factors of the electrical and the overall efficiency as a function of the correlated power: Pel [kWe], etael, etatot | 2.4 | 25.795 | 85 |  | 65 | 1 |  | 20 | 88 | 8:00 | 19.0044 | 85 | 84.092 | 0.3 | 0.3
| 7.2 | 28.475 | 85 |  | 72 | 1 |  | 34 | 90 | 8:15 | 17.3604 | 85 | 84.1705 | 0.3 | 0.3
| 12 | 30.82 | 85 |  | 75 | 1 |  |  |  | 8:30 | 18.0147 | 85 | 84.1393 | 0.3 | 0.3
| 16.8 | 32.495 | 85 |  | 80 | 1 |  |  |  | 8:45 | 17.7681 | 85 | 84.1511 | 0.3 | 0.3
| 24 | 33.5 | 85 |  | 90 | 1 |  |  |  | 9:00 | 16.2664 | 85 | 84.2228 | 0.3 | 0.3
[10 empty] | 9:15 | 22.5731 | 85 | 83.9215 | 0.3 | 0.3
[10 empty] | 9:30 | 21.7982 | 85 | 83.9585 | 0.3 | 0.3
[10 empty] | 9:45 | 29.0458 | 88 | 86.6122 | 0.3 | 0.3
[10 empty] | 10:00 | 35.4784 | 88 | 86.3049 | 0.3 | 0.3
[10 empty] | 10:15 | 28.236 | 88 | 86.6509 | 0.3 | 0.3
[10 empty] | 10:30 | 25.656 | 88 | 86.7742 | 0.3 | 0.3
[10 empty] | 10:45 | 30.7929 | 88 | 86.5288 | 0.3 | 0.3
[10 empty] | 11:00 | 35.7999 | 88 | 86.2895 | 0.3 | 0.3
[10 empty] | 11:15 | 39.095 | 88 | 86.1321 | 0.3 | 0.3
[10 empty] | 11:30 | 35.214 | 88 | 86.3175 | 0.3 | 0.3
[10 empty] | 11:45 | 28.3804 | 88 | 86.644 | 0.3 | 0.3
[10 empty] | 12:00 | 26.2999 | 88 | 86.7434 | 0.3 | 0.3
[10 empty] | 12:15 | 26.4509 | 88 | 86.7362 | 0.3 | 0.3
[10 empty] | 12:30 | 36.1611 | 88 | 86.2723 | 0.3 | 0.3
[10 empty] | 12:45 | 30.0865 | 88 | 86.5625 | 0.3 | 0.3
[10 empty] | 13:00 | 28.3229 | 85 | 83.6468 | 0.3 | 0.3
[10 empty] | 13:15 | 26.945 | 85 | 83.7126 | 0.3 | 0.3
[10 empty] | 13:30 | 27.9723 | 85 | 83.6635 | 0.3 | 0.3
[10 empty] | 13:45 | 25.4715 | 85 | 83.783 | 0.3 | 0.3
[10 empty] | 14:00 | 24.7938 | 85 | 83.8154 | 0.3 | 0.3
[10 empty] | 14:15 | 23.9446 | 85 | 83.856 | 0.3 | 0.3
[10 empty] | 14:30 | 24.5629 | 85 | 83.8264 | 0.3 | 0.3
[10 empty] | 14:45 | 30.0096 | 85 | 83.5662 | 0.3 | 0.3
[10 empty] | 15:00 | 28.3953 | 85 | 83.6433 | 0.3 | 0.3
[10 empty] | 15:15 | 20.475 | 85 | 84.0217 | 0.3 | 0.3
[10 empty] | 15:30 | 22.0068 | 85 | 83.9486 | 0.3 | 0.3
[10 empty] | 15:45 | 18.328 | 85 | 84.1243 | 0.3 | 0.3
[10 empty] | 16:00 | 32.6419 | 85 | 83.4404 | 0.3 | 0.3
[10 empty] | 16:15 | 28.0325 | 88 | 86.6607 | 0.3 | 0.3
[10 empty] | 16:30 | 29.2256 | 88 | 86.6037 | 0.3 | 0.3
[10 empty] | 16:45 | 35.7572 | 88 | 86.2916 | 0.3 | 0.3
[10 empty] | 17:00 | 34.43 | 88 | 86.355 | 0.3 | 0.3
[10 empty] | 17:15 | 35.9199 | 88 | 86.2838 | 0.3 | 0.3
[10 empty] | 17:30 | 40.0236 | 88 | 86.0877 | 0.3 | 0.3
[10 empty] | 17:45 | 39.141 | 88 | 86.1299 | 0.3 | 0.3
[10 empty] | 18:00 | 30.9398 | 85 | 83.5218 | 0.3 | 0.3
[10 empty] | 18:15 | 10.9398 | 85 | 84.4773 | 0.3 | 0.3
[10 empty] | 18:30 | 9.0879 | 85 | 84.5658 | 0.3 | 0.3
[10 empty] | 18:45 | 13.3561 | 85 | 84.3619 | 0.3 | 0.3
[10 empty] | 19:00 | 14.213 | 85 | 84.3209 | 0.3 | 0.3
[10 empty] | 19:15 | 15.388 | 85 | 84.2648 | 0.3 | 0.3
[10 empty] | 19:30 | 15.2202 | 85 | 84.2728 | 0.3 | 0.3
[10 empty] | 19:45 | 11.7616 | 85 | 84.438 | 0.3 | 0.3
[10 empty] | 20:00 | 15.9505 | 80 | 79.2379 | 0.3 | 0.3
[10 empty] | 20:15 | 14.0798 | 80 | 79.3273 | 0.3 | 0.3
[10 empty] | 20:30 | 17.8599 | 80 | 79.1467 | 0.3 | 0.3
[10 empty] | 20:45 | 19.2623 | 80 | 79.0797 | 0.3 | 0.3
[10 empty] | 21:00 | 18.8302 | 80 | 79.1003 | 0.3 | 0.3
[10 empty] | 21:15 | 21.4412 | 80 | 78.9756 | 0.3 | 0.3
[10 empty] | 21:30 | 18.0443 | 80 | 79.1379 | 0.3 | 0.3
[10 empty] | 21:45 | 23.7595 | 80 | 78.8648 | 0.3 | 0.3
[10 empty] | 22:00 | 24.9565 | 80 | 78.8076 | 0.3 | 0.3
[10 empty] | 22:15 | 20.1171 | 80 | 79.0388 | 0.3 | 0.3
[10 empty] | 22:30 | 17.396 | 80 | 79.1689 | 0.3 | 0.3
[10 empty] | 22:45 | 16.4273 | 80 | 79.2151 | 0.3 | 0.3
[10 empty] | 23:00 | 7.8112 | 80 | 79.6268 | 0.3 | 0.3
[10 empty] | 23:15 | 5.543 | 80 | 79.7352 | 0.3 | 0.3
[10 empty] | 23:30 | 5.1267 | 80 | 79.7551 | 0.3 | 0.3
[10 empty] | 23:45 | 5.8778 | 80 | 79.7192 | 0.3 | 0.3

## gen_comb
Generatore Elettrico a Combustione
Name:
sss
Name1 | Value | Description |  |  |  |  | Time | Initial guess
Comb | gas | type of fuel (gas naturale, biomassa, diesel) [-] |  |  |  |  | 0:00 | 1
PCI | 46.6 | fuel lower heating value [MJ/kg ] |  |  |  |  | 0:15 | 1
cF | 0.05493 | fuel cost [euro/kg] |  |  |  |  | 0:30 | 1
PN | 15 | nominal electrical power [kWe] |  |  |  |  | 0:45 | 1
N_acc_max | 24 | Startup maximum number [-] |  |  |  |  | 1:00 | 1
c_acc | 0 | Startup cost [€/startup] |  |  |  |  | 1:15 | 1
P_min | 1.5 | technical minimum power [kWe] |  |  |  |  | 1:30 | 1
[7 empty] | 1:45 | 1
Fuel | Fuel lower heating value [MJ/kg ] | [5 empty] | 2:00 | 1
[7 empty] | 2:15 | 1
comb: | gas | biomassa | diesel | ro_gas: | 0.71 | [kg/Nm^3] | 2:30 | 1
PCI: | 46.6 | 10.7 | 42.9 | ro_diesel: | 0.85 | [kg/litro] | 2:45 | 1
costo: | 0.39 | 50 | 0.9 |  |  |  | 3:00 | 1
cF: | 0.5493 | 0.05 | 1.0588 |  |  |  | 3:15 | 1
eta_values: | Electrical efficiency characteristic curve (Eta, kWe). N is the numbers of the available points of the characteristic curve | [5 empty] | 3:30 | 1
| kWe | eta [%] |  |  |  |  | 3:45 | 1
| 1.5 | 20.79 |  |  |  |  | 4:00 | 1
| 4.5 | 22.95 |  |  |  |  | 4:15 | 1
| 7.5 | 24.84 |  |  |  |  | 4:30 | 1
| 10.5 | 26.19 |  |  |  |  | 4:45 | 1
| 15 | 27 |  |  |  |  | 5:00 | 1
[7 empty] | 5:15 | 1
[7 empty] | 5:30 | 1
[7 empty] | 5:45 | 1
[7 empty] | 6:00 | 1
[7 empty] | 6:15 | 1
[7 empty] | 6:30 | 1
[7 empty] | 6:45 | 1
[7 empty] | 7:00 | 1
[7 empty] | 7:15 | 1
[7 empty] | 7:30 | 1
[7 empty] | 7:45 | 1
[7 empty] | 8:00 | 1
[7 empty] | 8:15 | 1
[7 empty] | 8:30 | 1
[7 empty] | 8:45 | 1
[7 empty] | 9:00 | 1
[7 empty] | 9:15 | 1
[7 empty] | 9:30 | 1
[7 empty] | 9:45 | 1
[7 empty] | 10:00 | 1
[7 empty] | 10:15 | 1
[7 empty] | 10:30 | 1
[7 empty] | 10:45 | 1
[7 empty] | 11:00 | 1
[7 empty] | 11:15 | 1
[7 empty] | 11:30 | 1
[7 empty] | 11:45 | 1
[7 empty] | 12:00 | 1
[7 empty] | 12:15 | 1
[7 empty] | 12:30 | 1
[7 empty] | 12:45 | 1
[7 empty] | 13:00 | 1
[7 empty] | 13:15 | 1
[7 empty] | 13:30 | 1
[7 empty] | 13:45 | 1
[7 empty] | 14:00 | 1
[7 empty] | 14:15 | 1
[7 empty] | 14:30 | 1
[7 empty] | 14:45 | 1
[7 empty] | 15:00 | 1
[7 empty] | 15:15 | 1
[7 empty] | 15:30 | 1
[7 empty] | 15:45 | 1
[7 empty] | 16:00 | 1
[7 empty] | 16:15 | 1
[7 empty] | 16:30 | 1
[7 empty] | 16:45 | 1
[7 empty] | 17:00 | 1
[7 empty] | 17:15 | 1
[7 empty] | 17:30 | 1
[7 empty] | 17:45 | 1
[7 empty] | 18:00 | 1
[7 empty] | 18:15 | 1
[7 empty] | 18:30 | 1
[7 empty] | 18:45 | 1
[7 empty] | 19:00 | 1
[7 empty] | 19:15 | 1
[7 empty] | 19:30 | 1
[7 empty] | 19:45 | 1
[7 empty] | 20:00 | 1
[7 empty] | 20:15 | 1
[7 empty] | 20:30 | 1
[7 empty] | 20:45 | 1
[7 empty] | 21:00 | 1
[7 empty] | 21:15 | 1
[7 empty] | 21:30 | 1
[7 empty] | 21:45 | 1
[7 empty] | 22:00 | 1
[7 empty] | 22:15 | 1
[7 empty] | 22:30 | 1
[7 empty] | 22:45 | 1
[7 empty] | 23:00 | 1
[7 empty] | 23:15 | 1
[7 empty] | 23:30 | 1
[7 empty] | 23:45 | 1

## gen_eoli
Generatore Eolico
Name:
Name | Value | Description | Time | Initial guess
v_min | 3 | minimum wind speed [m/s] | 0:00 | 1
rp | 11.5 | optimal wind speed (rated power) [m/s] | 0:15 | 1
v_max | 16 | maximum wind speed [m/s] | 0:30 | 1
PN | 3.5 | nominal power [kWe] | 0:45 | 1
|  |  | 1:00 | 1
| fk: Generator characteristic curve - at least 4 values between cut_in and rp ( P, v) |  | 1:15 | 1
| v | kWe | 1:30 | 1
| 5.25 | 0.4 | 1:45 | 1
| 7 | 1 | 2:00 | 1
| 8 | 1.5 | 2:15 | 1
| 9.5 | 3 | 2:30 | 1
|  |  | 2:45 | 1
|  |  | 3:00 | 1
|  |  | 3:15 | 1
|  |  | 3:30 | 1
|  |  | 3:45 | 1
|  |  | 4:00 | 1
|  |  | 4:15 | 1
|  |  | 4:30 | 1
|  |  | 4:45 | 1
|  |  | 5:00 | 1
|  |  | 5:15 | 1
|  |  | 5:30 | 1
|  |  | 5:45 | 1
|  |  | 6:00 | 1
|  |  | 6:15 | 1
|  |  | 6:30 | 1
|  |  | 6:45 | 1
|  |  | 7:00 | 1
|  |  | 7:15 | 1
|  |  | 7:30 | 1
|  |  | 7:45 | 1
|  |  | 8:00 | 1
|  |  | 8:15 | 1
|  |  | 8:30 | 1
|  |  | 8:45 | 1
|  |  | 9:00 | 1
|  |  | 9:15 | 1
|  |  | 9:30 | 1
|  |  | 9:45 | 1
|  |  | 10:00 | 1
|  |  | 10:15 | 1
|  |  | 10:30 | 1
|  |  | 10:45 | 1
|  |  | 11:00 | 1
|  |  | 11:15 | 1
|  |  | 11:30 | 1
|  |  | 11:45 | 1
|  |  | 12:00 | 1
|  |  | 12:15 | 1
|  |  | 12:30 | 1
|  |  | 12:45 | 1
|  |  | 13:00 | 1
|  |  | 13:15 | 1
|  |  | 13:30 | 1
|  |  | 13:45 | 1
|  |  | 14:00 | 1
|  |  | 14:15 | 1
|  |  | 14:30 | 1
|  |  | 14:45 | 1
|  |  | 15:00 | 1
|  |  | 15:15 | 1
|  |  | 15:30 | 1
|  |  | 15:45 | 1
|  |  | 16:00 | 1
|  |  | 16:15 | 1
|  |  | 16:30 | 1
|  |  | 16:45 | 1
|  |  | 17:00 | 1
|  |  | 17:15 | 1
|  |  | 17:30 | 1
|  |  | 17:45 | 1
|  |  | 18:00 | 1
|  |  | 18:15 | 1
|  |  | 18:30 | 1
|  |  | 18:45 | 1
|  |  | 19:00 | 1
|  |  | 19:15 | 1
|  |  | 19:30 | 1
|  |  | 19:45 | 1
|  |  | 20:00 | 1
|  |  | 20:15 | 1
|  |  | 20:30 | 1
|  |  | 20:45 | 1
|  |  | 21:00 | 1
|  |  | 21:15 | 1
|  |  | 21:30 | 1
|  |  | 21:45 | 1
|  |  | 22:00 | 1
|  |  | 22:15 | 1
|  |  | 22:30 | 1
|  |  | 22:45 | 1
|  |  | 23:00 | 1
|  |  | 23:15 | 1
|  |  | 23:30 | 1
|  |  | 23:45 | 1

## gen_foto
Generatore Fotovoltaico
Name:
Name | Value | Description | Time | Initial guess
DNIr | 800 | reference irradiance [1000 W/m^2] | 0:00 | 1
gamma | -0.0046 | power correction factor [°C^{-1}] | 0:15 | 1
Tr | 25 | reference temperature [°C] | 0:30 | 1
c | 1.05 | panel tilt coefficient [-] | 0:45 | 1
r | 0.031625 | correction Ross coefficient [°C m^2/W] | 1:00 | 1
eta | 0.9 | overall efficiency (it comprehends power losses through inverter and wiring) [-] | 1:15 | 1
Delta_Tr | 2 | standard temperature difference between the primary cell and the under -module surface that has irradiance equal to DNI_{r} [°C] | 1:30 | 1
PN | 10 | nominal power [kWe] | 1:45 | 1
|  |  | 2:00 | 1
|  |  | 2:15 | 1
|  |  | 2:30 | 1
|  |  | 2:45 | 1
|  |  | 3:00 | 1
|  |  | 3:15 | 1
|  |  | 3:30 | 1
|  |  | 3:45 | 1
|  |  | 4:00 | 1
|  |  | 4:15 | 1
|  |  | 4:30 | 1
|  |  | 4:45 | 1
|  |  | 5:00 | 1
|  |  | 5:15 | 1
|  |  | 5:30 | 1
|  |  | 5:45 | 1
|  |  | 6:00 | 1
|  |  | 6:15 | 1
|  |  | 6:30 | 1
|  |  | 6:45 | 1
|  |  | 7:00 | 1
|  |  | 7:15 | 1
|  |  | 7:30 | 1
|  |  | 7:45 | 1
|  |  | 8:00 | 1
|  |  | 8:15 | 1
|  |  | 8:30 | 1
|  |  | 8:45 | 1
|  |  | 9:00 | 1
|  |  | 9:15 | 1
|  |  | 9:30 | 1
|  |  | 9:45 | 1
|  |  | 10:00 | 1
|  |  | 10:15 | 1
|  |  | 10:30 | 1
|  |  | 10:45 | 1
|  |  | 11:00 | 1
|  |  | 11:15 | 1
|  |  | 11:30 | 1
|  |  | 11:45 | 1
|  |  | 12:00 | 1
|  |  | 12:15 | 1
|  |  | 12:30 | 1
|  |  | 12:45 | 1
|  |  | 13:00 | 1
|  |  | 13:15 | 1
|  |  | 13:30 | 1
|  |  | 13:45 | 1
|  |  | 14:00 | 1
|  |  | 14:15 | 1
|  |  | 14:30 | 1
|  |  | 14:45 | 1
|  |  | 15:00 | 1
|  |  | 15:15 | 1
|  |  | 15:30 | 1
|  |  | 15:45 | 1
|  |  | 16:00 | 1
|  |  | 16:15 | 1
|  |  | 16:30 | 1
|  |  | 16:45 | 1
|  |  | 17:00 | 1
|  |  | 17:15 | 1
|  |  | 17:30 | 1
|  |  | 17:45 | 1
|  |  | 18:00 | 1
|  |  | 18:15 | 1
|  |  | 18:30 | 1
|  |  | 18:45 | 1
|  |  | 19:00 | 1
|  |  | 19:15 | 1
|  |  | 19:30 | 1
|  |  | 19:45 | 1
|  |  | 20:00 | 1
|  |  | 20:15 | 1
|  |  | 20:30 | 1
|  |  | 20:45 | 1
|  |  | 21:00 | 1
|  |  | 21:15 | 1
|  |  | 21:30 | 1
|  |  | 21:45 | 1
|  |  | 22:00 | 1
|  |  | 22:15 | 1
|  |  | 22:30 | 1
|  |  | 22:45 | 1
|  |  | 23:00 | 1
|  |  | 23:15 | 1
|  |  | 23:30 | 1
|  |  | 23:45 | 1

## gen_foto_SANDIA
Generatore Fotovoltaico SANDIA
Name:
Name | Value | Description | Time | gDiffH | Initial guess
dayNumber | 1 | year's day number, 1 to 365 [-] | 0:00 | 0 | 1
|  |  | 0:15 | 0 | 1
|  |  | 0:30 | 0 | 1
SITE |  |  | 0:45 | 0 | 1
GMT | -8 | Time Zone (Greenwich Meridian Time), from -12 to +12, > 0 East of Greenwich [-] | 1:00 | 0 | 1
longitude | -116.783 | Longitude, (-180, 180), > 0 East of Greenwich [deg] | 1:15 | 0 | 1
latitude | 34.8667 | Latitude, > 0 se a Nord Equatore [deg] | 1:30 | 0 | 1
z | 0 | Altitude above sea [m] | 1:45 | 0 | 1
|  |  | 2:00 | 0 | 1
PV |  |  | 2:15 | 0 | 1
Modules type | SunPower SPR-210-BLK [2007 (E)] |  | 2:30 | 0 | 1
n | 1.221 | diode factor [-] | 2:45 | 0 | 1
Vmp0 | 40 | Reference (Ee=1, Tc = T0) MPP Voltage [V] | 3:00 | 0 | 1
Imp0 | 5.25 | Reference (Ee=1, Tc = T0) MPP Current [A] | 3:15 | 0 | 1
C0 | 1.0039 | Irradiance correction of Imp, coeff. 1 [-] | 3:30 | 0 | 1
C1 | -0.0039 | Irradiance correction of Imp, coeff. 2 [-]. Must be C0+C1=1 | 3:45 | 0 | 1
C2 | 0.29107 | Irradiance correction of Vmp, coeff. 1 [-] | 4:00 | 0 | 1
C3 | -4.7355 | Irradiance correction of Vmp, coeff. 2 [1/V] | 4:15 | 0 | 1
Ns | 72 | Number of cells in series in a module's cell-string [-] | 4:30 | 0 | 1
T0 | 25 | Reference temperature [°C] | 4:45 | 0 | 1
E0 | 1000 | Reference irradiance [W/m2] | 5:00 | 0 | 1
a0 | 0.94045 | Spectral correction, coeff. 1 [-] | 5:15 | 0 | 1
a1 | 0.052641 | Spectral correction, coeff. 2 [-] | 5:30 | 0 | 1
a2 | -0.0093897 | Spectral correction, coeff. 3 [-] | 5:45 | 0 | 1
a3 | 0.00072623 | Spectral correction, coeff. 4 [-] | 6:00 | 0 | 1
a4 | -1.9938e-05 | Spectral correction, coeff. 5 [-] | 6:15 | 0 | 1
fd | 1 | fraction of diffuse irr. used by module [-] | 6:30 | 0 | 1
betaVmp0 | -0.139 | Temp. coefficient for MPP Voltage at Ee = 1 [V/°C] | 6:45 | 0 | 1
m_betaVmp | 0 | Irrad. correction for Temp. coefficient for MPP Voltage [V/°C] | 7:00 | 0 | 1
alphaImp | -0.00038 | Normalized temp. coeff for Imp [1/°C] | 7:15 | 0 | 1
DTC | 3 | Temp. difference between cell and module back surface at E = E0 [°C] | 7:30 | 0 | 1
a | -3.62 | Module back surface Temp. correction for irradiance, coeff 1[-] | 7:45 | 0 | 1
b | -0.075 | Module back surface Temp. correction for irradiance, coeff 2[s/m] | 8:00 | 5 | 1
b0 | 1 | Incidence angle modifier, Coeff 1 [-] | 8:15 | 11 | 1
b1 | -0.002438 | Incidence angle modifier, Coeff 2 [-] | 8:30 | 9 | 1
b2 | 0.0003103 | Incidence angle modifier, Coeff 3 [-] | 8:45 | 14 | 1
b3 | -1.246e-05 | Incidence angle modifier, Coeff 4 [-] | 9:00 | 40 | 1
b4 | 2.112e-07 | Incidence angle modifier, Coeff 5 [-] | 9:15 | 72 | 1
b5 | -1.359e-09 | Incidence angle modifier, Coeff 6 [-] | 9:30 | 93 | 1
|  |  | 9:45 | 68 | 1
SUBARRAY |  |  | 10:00 | 43 | 1
Ns | 9 | Num. moduli in serie in singola stringa [-] | 10:15 | 67 | 1
Np | 105 | Num. stringhe in parallelo in subarray [-] | 10:30 | 87 | 1
betaTilt | 33 | zenith angle of tilted plane, (0=Orizzontale, 90=verticale)[deg] | 10:45 | 111 | 1
gammaTilt | 180 | azimuth angle of tilted plane (0=Nord, 90=Est)[deg] | 11:00 | 133 | 1
TotDerate | 1 | overall ac derate factor, 0 to 1, [-] | 11:15 | 95 | 1
|  |  | 11:30 | 119 | 1
INVERTER |  |  | 11:45 | 168 | 1
Inverters type | SMA America: ST36 (240) 240V [CEC 2010] |  | 12:00 | 114 | 1
Pdc0 | 37453.9 | Rated dc power [W] | 12:15 | 65 | 1
Ps0 | 194.963 |  | 12:30 | 46 | 1
Vdc0 | 309.917 | Rated dc voltage [V] | 12:45 | 107 | 1
C0 | -3.5555e-08 | Correction coeff 1 [W-1] | 13:00 | 217 | 1
C1 | 8.6927e-05 | Correction coeff 2 [V-1] | 13:15 | 132 | 1
C2 | 0.00056475 | Correction coeff 3 [V-1] | 13:30 | 87 | 1
C3 | -0.0036964 | Correction coeff 4 [V-1] | 13:45 | 59 | 1
Pac0 | 36000 | output at ref. conditions (Pdc = Pdc0, Vdc = Vdc0) [W] | 14:00 | 46 | 1
|  |  | 14:15 | 58 | 1
|  |  | 14:30 | 95 | 1
|  |  | 14:45 | 107 | 1
|  |  | 15:00 | 179 | 1
|  |  | 15:15 | 247 | 1
|  |  | 15:30 | 154 | 1
|  |  | 15:45 | 172 | 1
|  |  | 16:00 | 132 | 1
|  |  | 16:15 | 41 | 1
|  |  | 16:30 | 30 | 1
|  |  | 16:45 | 38 | 1
|  |  | 17:00 | 22 | 1
|  |  | 17:15 | 8 | 1
|  |  | 17:30 | 0 | 1
|  |  | 17:45 | 0 | 1
|  |  | 18:00 | 0 | 1
|  |  | 18:15 | 0 | 1
|  |  | 18:30 | 0 | 1
|  |  | 18:45 | 0 | 1
|  |  | 19:00 | 0 | 1
|  |  | 19:15 | 0 | 1
|  |  | 19:30 | 0 | 1
|  |  | 19:45 | 0 | 1
|  |  | 20:00 | 0 | 1
|  |  | 20:15 | 0 | 1
|  |  | 20:30 | 0 | 1
|  |  | 20:45 | 0 | 1
|  |  | 21:00 | 0 | 1
|  |  | 21:15 | 0 | 1
|  |  | 21:30 | 0 | 1
|  |  | 21:45 | 0 | 1
|  |  | 22:00 | 0 | 1
|  |  | 22:15 | 0 | 1
|  |  | 22:30 | 0 | 1
|  |  | 22:45 | 0 | 1
|  |  | 23:00 | 0 | 1
|  |  | 23:15 | 0 | 1
|  |  | 23:30 | 0 | 1
|  |  | 23:45 | 0 | 1

## Solver
Sequential Linear Programming
SLP Parameter
Name | Value | Description
SLP method | 1 | Choice of the step acceptance method between trust region (1) and "variable" trust region (2)
N° iter | 50 | Maximum number of iteration
ε | 1e-06 | Parameter that defines the convergence step acceptance
εfeas | 0.01 | Parameter that defines the maximum constraint violation allowed
Δ0 | 0.1 | Initial value for the trust region radius
μ | 1000 | Penalization factor for the inequality constraints in the objective function
nrp | 0 | Number of random initial set points (use 0 if no random initial setpoints should be used)
feas.phase | 1 | Set to 1 or 2 in order to perform a feasibility search, 0 if you do not want any feasibility recovery phase

## Tariffa
Rispetto Carico Dichiarato
|  |  |  | Potenza scambiata (kW) | Prezzo Zonale Vendita EE [c€/kWh] | Prezzo Zonale Acquisto EE [c€/kWh]
PARAMETRI GENERALI |  |  | Time | W_imposed | PVEE | PAEE
PUN | 7.5 | Prezzo Unico Nazionale Energia Elettrica -valore medio annuale [c€/KWh] | 0:00 | 0 | 6.26 | 6.32
PMzon | 8.2 | Prezzo Zonale dell'Energia Elettrica - valore medio mensile [c€/kWh] | 0:15 | 0 | 6.26 | 6.32
ε | 0.15 | Tolleranza massima sbilanciamento fonti rinnovabili non soggetta a penali [-] | 0:30 | 0 | 6.26 | 6.32
Tol | 0.5 | Tolleranza minima sbilanciamento fonti rinnovabili [kW] | 0:45 | 0 | 6.26 | 6.32
|  |  | 1:00 | 0 | 5.47 | 5.47
PARAMETRI SPECIFICI TARIFFAZIONE |  |  | 1:15 | 0 | 5.47 | 5.47
ε1 | 0.5 | Tolleranza massima sulla violazione del vincolo alla potenza dichiarata [kW] | 1:30 | 0 | 5.47 | 5.47
CTE_PV | 0 | conto energia per impianti fotovoltaici | 1:45 | 0 | 5.47 | 5.47
CTE_WIND | 0 | conto energia per impianti eolici | 2:00 | 0 | 5.01 | 5.05
CTE_BM | 0 | conto energia per combustibili a biomassa | 2:15 | 0 | 5.01 | 5.05
TI | 0 | tariffa incentivata di vendita [eurocent/kWh] | 2:30 | 0 | 5.01 | 5.05
TA | 0 | tariffa incentivata di auto-consumo [eurocent/kWh] | 2:45 | 0 | 5.01 | 5.05
TIP | 0 | tariffa incentivata di produzione [eurocent/kWh] | 3:00 | 0 | 4.8 | 4.8
|  |  | 3:15 | 0 | 4.8 | 4.8
|  |  | 3:30 | 0 | 4.8 | 4.8
|  |  | 3:45 | 0 | 4.8 | 4.8
COGENERAZIONE AD ALTO RENDIMENTO (CAR) |  |  | 4:00 | 0 | 4.8 | 4.8
REFHη | 0.9 | Rendimento di riferimento per produzione separata di calore [-] | 4:15 | 0 | 4.8 | 4.8
REFEη | 0.552 | Rendimento di riferimento per produzione separata di elettricità [-] | 4:30 | 0 | 4.8 | 4.8
ηe,ref | 0.46 | Rendimento convenzionale parco produzione elettricità italiano [-] | 4:45 | 0 | 4.8 | 4.8
ηT,ref | 0.9 | Rendimento convenzionale parco produzione calore italiano [-] | 5:00 | 0 | 5.53 | 5.53
ηglob-ref | 0.75 | Rendimento limite globale di soglia (elettrico + termico) x CAR [-] | 5:15 | 0 | 5.53 | 5.53
PESref | 0.1 | Primary Energy Saving di riferimento [-] | 5:30 | 0 | 5.53 | 5.53
K | 1.4 | Coefficiente armonizzazione calcolo dei certificati bianchi [-] | 5:45 | 0 | 5.53 | 5.53
PCB | 93 | Valore certificato bianco [€/tep] | 6:00 | 0 | 7.2 | 7.2
CSAEEG | 0.25 | Consumo specifico medio gas naturale AEEG [Nm3/kWh] | 6:15 | 0 | 7.2 | 7.2
AccN | 1.2498 | Accise erariale consumo gas naturale [c€/Nm3] | 6:30 | 0 | 7.2 | 7.2
AccR_produzione | 0.0449 | Accise erariale ridotta consumo gas naturale (quota produzione) [c€/Nm3] | 6:45 | 0 | 7.2 | 7.2
AccR_autoconsumo | 0.0135 | Accise erariale ridotta consumo gas naturale (quota autoconsumo) [c€/Nm3] | 7:00 | 0 | 8.43 | 8.46
|  |  | 7:15 | 0 | 8.43 | 8.46
|  |  | 7:30 | 0 | 8.43 | 8.46
|  |  | 7:45 | 0 | 8.43 | 8.46
|  |  | 8:00 | 0 | 9.27 | 9.31
|  |  | 8:15 | 0 | 9.27 | 9.31
|  |  | 8:30 | 0 | 9.27 | 9.31
|  |  | 8:45 | 0 | 9.27 | 9.31
|  |  | 9:00 | 0 | 8.4 | 8.56
|  |  | 9:15 | 0 | 8.4 | 8.56
|  |  | 9:30 | 0 | 8.4 | 8.56
|  |  | 9:45 | 0 | 8.4 | 8.56
|  |  | 10:00 | 0 | 8.11 | 8.29
|  |  | 10:15 | 0 | 8.11 | 8.29
|  |  | 10:30 | 0 | 8.11 | 8.29
|  |  | 10:45 | 0 | 8.11 | 8.29
|  |  | 11:00 | 0 | 8.1 | 8.27
|  |  | 11:15 | 0 | 8.1 | 8.27
|  |  | 11:30 | 0 | 8.1 | 8.27
|  |  | 11:45 | 0 | 8.1 | 8.27
|  |  | 12:00 | 0 | 7.2 | 7.42
|  |  | 12:15 | 0 | 7.2 | 7.42
|  |  | 12:30 | 0 | 7.2 | 7.42
|  |  | 12:45 | 0 | 7.2 | 7.42
|  |  | 13:00 | 0 | 6.98 | 7.16
|  |  | 13:15 | 0 | 6.98 | 7.16
|  |  | 13:30 | 0 | 6.98 | 7.16
|  |  | 13:45 | 0 | 6.98 | 7.16
|  |  | 14:00 | 0 | 7.69 | 7.82
|  |  | 14:15 | 0 | 7.69 | 7.82
|  |  | 14:30 | 0 | 7.69 | 7.82
|  |  | 14:45 | 0 | 7.69 | 7.82
|  |  | 15:00 | 0 | 7.9 | 8.02
|  |  | 15:15 | 0 | 7.9 | 8.02
|  |  | 15:30 | 0 | 7.9 | 8.02
|  |  | 15:45 | 0 | 7.9 | 8.02
|  |  | 16:00 | 0 | 8.29 | 8.46
|  |  | 16:15 | 0 | 8.29 | 8.46
|  |  | 16:30 | 0 | 8.29 | 8.46
|  |  | 16:45 | 0 | 8.29 | 8.46
|  |  | 17:00 | 0 | 9.04 | 9.26
|  |  | 17:15 | 0 | 9.04 | 9.26
|  |  | 17:30 | 0 | 9.04 | 9.26
|  |  | 17:45 | 0 | 9.04 | 9.26
|  |  | 18:00 | 0 | 12.1 | 12.5
|  |  | 18:15 | 0 | 12.1 | 12.5
|  |  | 18:30 | 0 | 12.1 | 12.5
|  |  | 18:45 | 0 | 12.1 | 12.5
|  |  | 19:00 | 0 | 12.4 | 12.88
|  |  | 19:15 | 0 | 12.4 | 12.88
|  |  | 19:30 | 0 | 12.4 | 12.88
|  |  | 19:45 | 0 | 12.4 | 12.88
|  |  | 20:00 | 0 | 9.02 | 9.72
|  |  | 20:15 | 0 | 9.02 | 9.72
|  |  | 20:30 | 0 | 9.02 | 9.72
|  |  | 20:45 | 0 | 9.02 | 9.72
|  |  | 21:00 | 0 | 8.7 | 9.29
|  |  | 21:15 | 0 | 8.7 | 9.29
|  |  | 21:30 | 0 | 8.7 | 9.29
|  |  | 21:45 | 0 | 8.7 | 9.29
|  |  | 22:00 | 0 | 8.09 | 9.08
|  |  | 22:15 | 0 | 8.09 | 9.08
|  |  | 22:30 | 0 | 8.09 | 9.08
|  |  | 22:45 | 0 | 8.09 | 9.08
|  |  | 23:00 | 0 | 7.25 | 7.29
|  |  | 23:15 | 0 | 7.25 | 7.29
|  |  | 23:30 | 0 | 7.25 | 7.29
|  |  | 23:45 | 0 | 7.25 | 7.29

## Risultati
Rounded Time | Alpha_x_Result | Alpha_y_Result | Alpha_e_Result | X_Updated_W | Y_Updated_W | E_Updated_W | Carico L1
0 | 0.5 | 0.0266 | 1 | 0 | 0 | 0.65714 | 0
0.25 | 0.5 | 0.0266 | 1 | 0 | 0 | 0.7 | 0
0.5 | 0.5 | 0.0266 | 1 | 0 | 0 | 0.74286 | 0
0.75 | 0.5 | 0.0266 | 1 | 0 | 0 | 0.78571 | 0
1 | 0.5 | 0.023859 | 1 | 0 | 0 | 0.82857 | 0
1.25 | 0.5 | 0.023859 | 1 | 0 | 0 | 0.82857 | 0
1.5 | 0.5 | 0.023859 | 1 | 0 | 0 | 0.82857 | 0
1.75 | 0.5 | 0.023859 | 1 | 0 | 0 | 0.82857 | 0
2 | 0.5 | 0.022264 | 1 | 0 | 0 | 0.82857 | 0
2.25 | 0.5 | 0.022264 | 1 | 0 | 0 | 0.87143 | 0
2.5 | 0.5 | 0.022264 | 1 | 0 | 0 | 0.91429 | 0
2.75 | 0.5 | 0.022264 | 1 | 0 | 0 | 0.95714 | 0
3 | 0.5 | 0.021535 | 1 | 0 | 0 | 1 | 0
3.25 | 0.5 | 0.021535 | 1 | 0 | 0 | 1.0625 | 0
3.5 | 0.5 | 0.021535 | 1 | 0 | 0 | 1.125 | 0
3.75 | 0.5 | 0.021535 | 1 | 0 | 0 | 1.1875 | 0
4 | 0.5 | 0.021535 | 1 | 0 | 0 | 1.25 | 0
4.25 | 0.5 | 0.021535 | 1 | 0 | 0 | 1.25 | 0
4.5 | 0.5 | 0.021535 | 1 | 0 | 0 | 1.25 | 0
4.75 | 0.5 | 0.021535 | 1 | 0 | 0 | 1.25 | 0
5 | 0.5 | 0.024068 | 1 | 0 | 0 | 1.25 | 0
5.25 | 0.5 | 0.024068 | 1 | 0 | 0 | 1.3125 | 2
5.5 | 0.5 | 0.024068 | 1 | 0 | 0 | 1.375 | 2
5.75 | 0.5 | 0.024068 | 1 | 0 | 0 | 1.4375 | 2
6 | 0.5 | 0.02986 | 1 | 0 | 0 | 1.5 | 2
6.25 | 0.5 | 0.02986 | 1 | 0 | 0 | 1.4375 | 2
6.5 | 0.5 | 0.02986 | 1 | 0 | 0 | 1.375 | 2
6.75 | 1 | 0.02986 | 1 | 3.9851 | 0 | 1.3125 | 2
7 | 1 | 0.034124 | 1 | 3.9851 | 0 | 1.25 | 2
7.25 | 1 | 0.034124 | 1 | 3.9851 | 0 | 1.125 | 2
7.5 | 1 | 0.034124 | 1 | 3.9851 | 0 | 1 | 2
7.75 | 1 | 0.034124 | 1 | 3.9851 | 0 | 0.91429 | 2
8 | 1 | 0.037035 | 1 | 3.9851 | 0 | 0.82857 | 2
8.25 | 1 | 0.037035 | 1 | 3.9851 | 0 | 0.74286 | 2
8.5 | 1 | 0.037035 | 1 | 3.9851 | 0 | 0.65714 | 2
8.75 | 1 | 0.037035 | 1 | 3.9851 | 0 | 0.57143 | 2
9 | 1 | 0.03402 | 1 | 3.9851 | 0 | 0.48571 | 2
9.25 | 1 | 0.03402 | 1 | 3.9851 | 0 | 0.52857 | 2
9.5 | 1 | 0.03402 | 1 | 3.9851 | 0 | 0.57143 | 2
9.75 | 1 | 0.03402 | 1 | 3.9851 | 0 | 0.61429 | 2
10 | 1 | 0.033015 | 1 | 3.9851 | 0 | 0.65714 | 2
10.25 | 1 | 0.033015 | 1 | 3.9851 | 0 | 0.57143 | 2
10.5 | 1 | 0.033015 | 1 | 3.9851 | 0 | 0.48571 | 2
10.75 | 1 | 0.033015 | 1 | 3.9851 | 0 | 0.4 | 2
11 | 1 | 0.03298 | 1 | 3.9851 | 0 | 0.35556 | 2
11.25 | 1 | 0.03298 | 1 | 3.9851 | 0 | 0.31111 | 2
11.5 | 1 | 0.03298 | 1 | 3.9851 | 0 | 0.26667 | 2
11.75 | 1 | 0.03298 | 1 | 3.9851 | 0 | 0.22222 | 2
12 | 1 | 0.02986 | 1 | 3.9851 | 0 | 0.17778 | 2
12.25 | 1 | 0.02986 | 1 | 3.9851 | 0 | 0.17778 | 2
12.5 | 1 | 0.02986 | 1 | 3.9851 | 0 | 0.17778 | 2
12.75 | 1 | 0.02986 | 1 | 3.9851 | 0 | 0.17778 | 2
13 | 1 | 0.029097 | 1 | 3.9851 | 0 | 0.17778 | 2
13.25 | 1 | 0.029097 | 1 | 3.9851 | 0 | 0.15556 | 2
13.5 | 1 | 0.029097 | 1 | 3.9851 | 0 | 0.13333 | 2
13.75 | 1 | 0.029097 | 1 | 3.9851 | 0 | 0.11111 | 2
14 | 1 | 0.031559 | 1 | 3.9851 | 0 | 0.088889 | 2
14.25 | 1 | 0.031559 | 1 | 3.9851 | 0 | 0.088889 | 2
14.5 | 1 | 0.031559 | 1 | 3.9851 | 0 | 0.088889 | 2
14.75 | 1 | 0.031559 | 1 | 3.9851 | 0 | 0.088889 | 2
15 | 1 | 0.032287 | 1 | 3.9851 | 0 | 0.088889 | 2
15.25 | 1 | 0.032287 | 1 | 3.9851 | 0 | 0.11111 | 2
15.5 | 1 | 0.032287 | 1 | 3.9851 | 0 | 0.13333 | 2
15.75 | 1 | 0.032287 | 1 | 3.9851 | 0 | 0.15556 | 2
16 | 1 | 0.033639 | 1 | 3.9851 | 0 | 0.17778 | 2
16.25 | 1 | 0.033639 | 1 | 3.9851 | 0 | 0.17778 | 2
16.5 | 1 | 0.033639 | 1 | 3.9851 | 0 | 0.17778 | 2
16.75 | 1 | 0.033639 | 1 | 3.9851 | 0 | 0.17778 | 3
17 | 1 | 0.036238 | 1 | 3.9851 | 0 | 0.17778 | 3
17.25 | 0.5 | 0.036238 | 1 | 0 | 0 | 0.15556 | 3
17.5 | 0.5 | 0.036238 | 1 | 0 | 0 | 0.13333 | 3
17.75 | 0.5 | 0.036238 | 1 | 0 | 0 | 0.11111 | 3
18 | 0.5 | 0.046839 | 1 | 0 | 0 | 0.088889 | 3
18.25 | 0.5 | 0.046839 | 1 | 0 | 0 | 0.066667 | 3
18.5 | 0.5 | 0.046839 | 1 | 0 | 0 | 0.044444 | 3
18.75 | 0.5 | 0.046839 | 1 | 0 | 0 | 0.022222 | 3
19 | 0.5 | 0.047878 | 0.5 | 0 | 0 | 0 | 3
19.25 | 0.5 | 0.047878 | 0.5 | 0 | 0 | 0 | 3
19.5 | 0.5 | 0.047878 | 0.5 | 0 | 0 | 0 | 5
19.75 | 0.5 | 0.047878 | 0.5 | 0 | 0 | 0 | 5
20 | 0.5 | 0.036169 | 0.5 | 0 | 0 | 0 | 5
20.25 | 0.5 | 0.036169 | 0.5 | 0 | 0 | 0 | 5
20.5 | 0.5 | 0.036169 | 0.5 | 0 | 0 | 0 | 5
20.75 | 0.5 | 0.036169 | 0.5 | 0 | 0 | 0 | 5
21 | 0.5 | 0.03506 | 0.5 | 0 | 0 | 0 | 5
21.25 | 0.5 | 0.03506 | 0.5 | 0 | 0 | 0 | 5
21.5 | 0.5 | 0.03506 | 0.5 | 0 | 0 | 0 | 5
21.75 | 0.5 | 0.03506 | 0.5 | 0 | 0 | 0 | 5
22 | 0.5 | 0.032945 | 0.5 | 0 | 0 | 0 | 5
22.25 | 0.5 | 0.032945 | 0.5 | 0 | 0 | 0 | 5
22.5 | 0.5 | 0.032945 | 0.5 | 0 | 0 | 0 | 5
22.75 | 0.5 | 0.032945 | 0.5 | 0 | 0 | 0 | 5
23 | 0.5 | 0.030033 | 0.5 | 0 | 0 | 0 | 5
23.25 | 0.5 | 0.030033 | 0.5 | 0 | 0 | 0 | 5
23.5 | 0.5 | 0.030033 | 0.5 | 0 | 0 | 0 | 5
23.75 | 0.5 | 0.030033 | 0.5 | 0 | 0 | 0 | 5
Rounded Time | Alpha_x_Result | Alpha_e_Result | X_Updated_W | E_Updated_W
0 | 0.99 | 0.99 | 0 | 0.65057
0.25 | 0.99 | 0.99 | 0 | 0.693
0.5 | 0.99 | 0.99 | 0 | 0.73543
0.75 | 0.99 | 0.99 | 0 | 0.77786
1 | 0.99 | 0.99 | 0 | 0.82029
1.25 | 0.99 | 0.99 | 0 | 0.82029
1.5 | 0.99 | 0.99 | 0 | 0.82029
1.75 | 0.99 | 0.99 | 0 | 0.82029
2 | 0.99 | 0.99 | 0 | 0.82029
2.25 | 0.99 | 0.99 | 0 | 0.86271
2.5 | 0.99 | 0.99 | 0 | 0.90514
2.75 | 0.99 | 0.99 | 0 | 0.94757
3 | 0.99 | 0.99 | 0 | 0.99
3.25 | 0.99 | 0.99 | 0 | 1.0519
3.5 | 0.99 | 0.99 | 0 | 1.1138
3.75 | 0.99 | 0.99 | 0 | 1.1756
4 | 0.99 | 0.99 | 0 | 1.2375
4.25 | 0.99 | 0.99 | 0 | 1.2375
4.5 | 0.99 | 0.99 | 0 | 1.2375
4.75 | 0.99 | 0.99 | 0 | 1.2375
5 | 0.99 | 0.99 | 0 | 1.2375
5.25 | 0.99 | 0.99 | 0 | 1.2994
5.5 | 0.99 | 0.99 | 0 | 1.3613
5.75 | 0.99 | 0.99 | 0 | 1.4231
6 | 0.99 | 0.99 | 0 | 1.485
6.25 | 0.99 | 0.99 | 0 | 1.4231
6.5 | 0.99 | 0.99 | 0 | 1.3613
6.75 | 0.99 | 0.99 | 3.9452 | 1.2994
7 | 0.99 | 0.99 | 3.9452 | 1.2375
7.25 | 0.99 | 0.99 | 3.9452 | 1.1138
7.5 | 0.99 | 0.99 | 3.9452 | 0.99
7.75 | 0.99 | 0.99 | 3.9452 | 0.90514
8 | 0.99 | 0.99 | 3.9452 | 0.82029
8.25 | 0.99 | 0.99 | 3.9452 | 0.73543
8.5 | 0.99 | 0.99 | 3.9452 | 0.65057
8.75 | 0.99 | 0.99 | 3.9452 | 0.56571
9 | 0.99 | 0.99 | 3.9452 | 0.48086
9.25 | 0.99 | 0.99 | 3.9452 | 0.52329
9.5 | 0.99 | 0.99 | 3.9452 | 0.56571
9.75 | 0.99 | 0.99 | 3.9452 | 0.60814
10 | 0.99 | 0.99 | 3.9452 | 0.65057
10.25 | 0.99 | 0.99 | 3.9452 | 0.56571
10.5 | 0.99 | 0.99 | 3.9452 | 0.48086
10.75 | 0.99 | 0.99 | 3.9452 | 0.396
11 | 0.99 | 0.99 | 3.9452 | 0.352
11.25 | 0.99 | 0.99 | 3.9452 | 0.308
11.5 | 0.99 | 0.99 | 3.9452 | 0.264
11.75 | 0.99 | 0.99 | 3.9452 | 0.22
12 | 0.99 | 0.99 | 3.9452 | 0.176
12.25 | 0.99 | 0.99 | 3.9452 | 0.176
12.5 | 0.99 | 0.99 | 3.9452 | 0.176
12.75 | 0.99 | 0.99 | 3.9452 | 0.176
13 | 0.99 | 0.99 | 3.9452 | 0.176
13.25 | 0.99 | 0.99 | 3.9452 | 0.154
13.5 | 0.99 | 0.99 | 3.9452 | 0.132
13.75 | 0.99 | 0.99 | 3.9452 | 0.11
14 | 0.99 | 0.99 | 3.9452 | 0.088
14.25 | 0.99 | 0.99 | 3.9452 | 0.088
14.5 | 0.99 | 0.99 | 3.9452 | 0.088
14.75 | 0.99 | 0.99 | 3.9452 | 0.088
15 | 0.99 | 0.99 | 3.9452 | 0.088
15.25 | 0.99 | 0.99 | 3.9452 | 0.11
15.5 | 0.99 | 0.99 | 3.9452 | 0.132
15.75 | 0.99 | 0.99 | 3.9452 | 0.154
16 | 0.99 | 0.99 | 3.9452 | 0.176
16.25 | 0.99 | 0.99 | 3.9452 | 0.176
16.5 | 0.99 | 0.99 | 3.9452 | 0.176
16.75 | 0.99 | 0.99 | 3.9452 | 0.176
17 | 0.99 | 0.99 | 3.9452 | 0.176
17.25 | 0.99 | 0.99 | 0 | 0.154
17.5 | 0.99 | 0.99 | 0 | 0.132
17.75 | 0.99 | 0.99 | 0 | 0.11
18 | 0.99 | 0.99 | 0 | 0.088
18.25 | 0.99 | 0.99 | 0 | 0.066
18.5 | 0.99 | 0.99 | 0 | 0.044
18.75 | 0.99 | 0.99 | 0 | 0.022
19 | 0.99 | 0.99 | 0 | 0
19.25 | 0.99 | 0.99 | 0 | 0
19.5 | 0.99 | 0.99 | 0 | 0
19.75 | 0.99 | 0.99 | 0 | 0
20 | 0.99 | 0.99 | 0 | 0
20.25 | 0.99 | 0.99 | 0 | 0
20.5 | 0.99 | 0.99 | 0 | 0
20.75 | 0.99 | 0.99 | 0 | 0
21 | 0.99 | 0.99 | 0 | 0
21.25 | 0.99 | 0.99 | 0 | 0
21.5 | 0.99 | 0.99 | 0 | 0
21.75 | 0.99 | 0.99 | 0 | 0
22 | 0.99 | 0.99 | 0 | 0
22.25 | 0.99 | 0.99 | 0 | 0
22.5 | 0.99 | 0.99 | 0 | 0
22.75 | 0.99 | 0.99 | 0 | 0
23 | 0.99 | 0.99 | 0 | 0
23.25 | 0.99 | 0.99 | 0 | 0
23.5 | 0.99 | 0.99 | 0 | 0
23.75 | 0.99 | 0.99 | 0 | 0