## Sim Info
%% SOFTWARE FOR PROBABILISTIC OPTIMAL CONTROL OF RESOURCES IN A RENEWABLE ENERGY COMMUNITIY
% ***********************************************************************************************************************************************
% RELEASE 29/02/2024
% FABIO MOTTOLA AND DANIELA PROTO UNIVERSITY OF NAPLES FEDERICO II, NAPLES (ITALY)
% fabio.mottola@unina.it, daniela.proto@unina.it
%
% THE SOFTWARE IS PART OF Project funded under the National Recovery and Resilience Plan (NRRP),
% Mission 4 Component 2 Investment 1.3 - Call for tender No. 1561 of 11.10.2022 of Ministero dell Università e della Ricerca (MUR).
% European Union – NextGenerationEU. Award Number: Project code PE0000021, Concession Decree No. 1561 of 11.10.2022
% adopted by Ministero dell Università e della Ricerca (MUR), CUP E63C22002160007 - Project title “Network 4 Energy Sustainable Transition – NEST.
% ************************************************************************************************************************************************

## BESS_power
Set point [kW]
-100.2002

## DR_Load_Type I
Load type I [kW]
50 | 0
50 | 0
50 | 0
0 | 0
0 | 50
0 | 0
0 | 50
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0

## DR_Load_Type II
Load type II [kW]
0 | 0
50 | 50
50 | 50
0 | 50
0 | 0
50 | 50
50 | 50
0 | 50
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0

## DR_Load_Type III
Load type III [kW]
24.371 | 7.938 | 12.487 | 5.082
43.352 | 9.079 | 27.783 | 3.821
36.687 | 11.347 | 21.721 | 5.787
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0

## BESS_SoC
Power |  | SoC
Mean [kW] | Standard deviation [kW] | Mean [pu] | Standard deviation [pu]
-100.2002 | 42.8852 | 0.5 | 0
26.6505 | 56.1291 | 0.62652 | 0.054151
40.7335 | 52.1064 | 0.59197 | 0.10514
-108.259 | 64.9976 | 0.53943 | 0.13407
37.4258 | 89.8686 | 0.67608 | 0.1871
-93.2631 | 81.903 | 0.62739 | 0.12577
-37.5981 | 20.9429 | 0.74515 | 0.027874
-5.8425 | 2.7624 | 0.79262 | 0.003488
8.6324e-16 | 2.2092e-14 | 0.8 | 2.2072e-11
0.0063616 | 0.017993 | 0.8 | 2.2072e-11
0.024157 | 0.056477 | 0.79999 | 2.3184e-05
0.75019 | 2.0634 | 0.79996 | 7.2454e-05
8.5595 | 24.2098 | 0.79899 | 0.0027268
8.9858 | 25.3728 | 0.78797 | 0.03392
10.7073 | 30.2833 | 0.77639 | 0.066612
191.6456 | 44.6601 | 0.76259 | 0.10563
77.6689 | 60.5886 | 0.51566 | 0.06398
160.9848 | 70.356 | 0.41559 | 0.082088
6.3397 | 10.4608 | 0.20817 | 0.013478
-3.8853 | 8.4148 | 0.2 | 2.0293e-10
-0.46433 | 3.4767 | 0.20491 | 0.010625
-1.1472 | 6.0329 | 0.20547 | 0.0085434
-0.64703 | 6.1754 | 0.2069 | 0.011604
5.9616 | 13.9411 | 0.20768 | 0.017962
|  | 0.2 | 2.4182e-10